ZOE荧光细胞成像系统兼容荧光素表

| Blue Channel | Green Channel | Red Channel |
| --- | --- | --- |
| Excitation: 355/40 nm Emission: 433/36 nm | Excitation: 480/17 nm Emission: 517/23 nm | Excitation: 556/20 nm Emission: 615/61 nm |
| PureBlu DAPI Nuclear | CytoTrack Green | ReadiLink 555/570 |
| Staining Dye | 511/525 | Antibody Labeling Kit |
| PureBlu Hoechst 33342 | ReadiLink 492/516 | ReadiLink 594/610 |
| Nuclear Staining Dye | Antibody Labeling Kit | Antibody Labeling Kit |
| ReadiLink 350/440 | VivaFix 498/521 | VivaFix 547/573 |
| Antibody Labeling Kit | Cell Viability Assay | Cell Viability Assay |
| VivaFix 353/442 | CFDA-SE | VivaFix 583/603 |
| Cell Viability Assay |  | Cell Viability Assay |
| Alexa Fluor 350 | Acridine Orange | Alexa Fluor 546 |
| Alexa Fluor 405 | Alexa Fluor 488 dye | Alexa Fluor 568 |
| Cascade Blue | BODIPY Fl | Alexa Fluor 594 |
| CellTracker Blue | Calcein AM | Alexa Fluor 610 |
| DAPI | DiO | Cy3 |
| Hoechst | EGFP | Dil Stain |
| LysoTracker Blue | ER-Tracker Green | DsRed |
| Marina Blue | FITC | ER-Tracker Red |
| NucBlue Fixed | MitoTracker Green FM | mCherry |
| NucBlue Live | SYTO 9, SYTO 13, SYTO 16 | mStrawberry |
| — | SYTOX Green | MitoTracker Red |
| — | Tubulin Green | mKate |
| — | YFP | RFP |
| — | — | SYTOX Orange |
| — | — | SYTO 84, SYTO 85 |
| — | — | Texas Red |

This is not a comprehensive list; other dyes and fluorescent proteins with compatible excitation and emission spectra can also be used.